## Slide 1: Instrumentation for gravitational-wave detection
BND School Wuppertal 2023
Conor Mow-Lowry

## Slide 2: Slido for questions
Add your questions or upvote those already posted and I’ll try to answer them.
Fully anonymous!
  Slido #921 8346
  https://app.sli.do/event/feM5JT34qMLuDUDwBXHDDH

## Slide 3: Session 3
Laser interferometry: Phase to power
  Maxwell’s equations to the wave equation
  Plane waves and simplifications
  Measuring a laser beam and our simplest nomenclature
Tutorial 1:
  Calculate the response to a gravitational wave
  Project laser frequency fluctuations into ‘strain equivalent’ noise.

## Slide 4: Tutorial material
Morning BND tutorial 1 – frequency noise (indico) Diagram on slides (on screen + indico)
(helpful) BND session 3 Maxwell_to_detection (indico) (optional) Session 3 notes - interferometer_techniques…
Afternoon BND tutorial 2 – sensor_response (indico) BND tutorial 2 notes – thermal noise (indico) Information on slides (on screen + indico)
(optional) BND tutorial 2 notes – pole_zero (indico)

## Slide 5: Maxwell to Measured power
(in the Maxwell_to_Detection pdf)

## Slide 6: A Michelson interferometer

## Slide 7: Michelson Interferometer
Laser
L1
L2
Pin
Pout
δLd/2
δLd/2
k0 + δk

## Slide 8: Beamsplitter
Ein = √Pin
Er = r.Ein
Et = it.Ein
R = T = 0.5
r = t = √0.5

## Slide 9
From Andreas Freise’s notes, 2022 BND school

## Slide 10: Advanced LIGO ‘real’ noise budget (2020)
PRD 102, 062003 (2020)

## Slide 11: Conclusions
These simple, algebraic computations form the basis of interferometer simulation tools.
They determine the optical response of the detector and they are used extensively in the design phase
They must be augmented with an understanding of the actual beam shape, size, and alignment.
The derivation you have made is sufficient for understanding frequency fluctuations (Hz) to measured power (W), but not for Gravitational Wave (strain) to power.

## Slide 12: Slido for questions
Add your questions or upvote those already posted and I’ll try to answer them.
Fully anonymous!
  Slido #921 8346
  https://app.sli.do/event/feM5JT34qMLuDUDwBXHDDH